ISKANDER MARINE SARL

40' X 9' 6" HIGH CUBE  Refrigerated ISO Cargo Container

carrier 1993 -1994

Etat  général d’occasion  = révise et répare  perféctément.

— STANDARD FEATURES —

Isolation /Insulation : mousse de polyurethane/ polyurethane foam

Aluminum, steel or sides

Double full opening swing doors on

one end

Aluminum T-grade floors

Most refrigerated machinery features

electrical supply as follows:

380/460 Volts AC,

3 phase, 50 or 60 cycle

WEIGHTS 	Tare 	4700-5200 kg (10365-11465 Ibs)

Max. Payload 	25780-29250 kg (56845-64495 Ibs)

MEASUREMENTS 	external 	internal 	door opening

length 	12192 mm (40') 	 11575 mm (38') 	-

width 	2438 mm (8') 	2280-2290 mm (7'6") 	2280-2290 mm (7'6")

height 	2895 mm (9'6") 	2525-2550 mm (8'3"-8'4") 	2435 mm (8')

CUBIC CAPACITY 	66.7-68 m3 (2355-2400 cft)

VOLTAGE 	           380/440V, 50/60Hz, 3-phase

I

| Stacking height | 7 high |  |
| --- | --- | --- |
| Top & Bottom rails | Corten |  |
| End Frames | Corten |  |
| Outer panels | MGSS welded |  |
| Underfloor | Corten crossbearers |  |
| Inner roof | Aluminium |  |
| Tee floor height | 63.5mm |  |
| Door outer | MGSS |  |
| Lock rods | 4 |  |
| Goose neck tunnel | Fitted |  |
| Fork lift pockets | No |  |
| Manufacturer | carrier |  |
| Machine manufacturer | carrier |  |
| Refrigerant | R134a |  |
| Model | RC-CPE/16 -14 |  |
| Voltage | 415/3ph - Option |  |
| Chart recorder | Option |  |
| Data memory | Yes |  |
| ENGINE POWER |  |  |
| Compressor motor total Power | Enter 5.5 KW |  |

ALL NEW CONTAINERS ARE

MANUFACTURED TO THE LATEST ISO

STANDARDS

- All dimensions are average. Exact specifications for each model are available.

Isolation/Insulation: mousse /polyurethane foam Isolation/Insulation: mousse de foam

Isolation/Insulation: mousse foam