ISKANDER MARINE SARL

20' X 8' 6" Refrigerated ISO Cargo Container

CARRIER  1995-1996

Etat  général d’occasion  = révise et répare  perfectement.

— STANDARD FEATURES —

Isolation /Insulation : mousse de polyurethane/ polyurethane foam

Aluminum, steel or sides

Double full opening swing doors on

one end

Aluminum T-grade floors

Most refrigerated machinery features

electrical supply as follows: 208/230,

380/460 Volts AC,

3 phase, 50 or 60 cycle

Isolation/Insulation: mousse de polyurethane foam

Temperature range from -20° F to 70° F

20' Refrigerated

20’ Reefer                          Length                           Height                            Width                  Door Opening

Exterior   Interior        Exterior    Interior       Exterior      Interior          Height        Width

Feet/Inches           20' 0"    19' 0 3/4"           8' 6"      7' 3 5/8"      8' 0"          7' 5 5/8"            7' 6 1/2"     7' 5 5/8"

Metric                  6,08        6,9            1,291          2,226       2,438             2,276                   2,299         2,276

20' Refrigerated              Tare Weight              Payload             Gross Weight        Cubic Capacity

Lbs.                                       5,000                     30,000                   33,600                   1,038 Cu. Ft.

Kg.                                        2,300                       14,000                   15,240                    29.4 Cu. M.

| Tare weight | 2,270 Kg | 5,005 lbs |
| --- | --- | --- |
| Internal cube | 27.8 m³ | 1,006 ft³ |
| Internal LxWxH | 5,424 x 2286 x 2271 mm | 214 x 90 x 89.4 in |
| MGW | 32,800 Kg | 72,324 lbs |
| Payload | 24,100 Kg | 53,140 lbs |
| Stacking height | 7 high |  |
| Top & Bottom rails | Corten |  |
| End Frames | Corten |  |
| Outer panels | Aluminium rivetted |  |
| Underfloor | Corten crossbearers |  |
| Inner roof | Aluminium |  |
| Tee floor height | 43.5mm |  |
| Door outer | Aluminium Plymetal |  |
| Lock rods | 4 |  |
| Goose neck tunnel | Fitted |  |
| Fork lift pockets | No |  |
| Manufacturer | NFF Yundai |  |
| Machine manufacturer | Carrier |  |
| Refrigerant | R134a |  |
| Model | NT40-511 |  |
| Voltage | 415/3ph - 220V Option |  |
| Chart recorder | Option |  |
| Data memory | Yes |  |

ALL NEW CONTAINERS ARE

MANUFACTURED TO THE LATEST ISO

STANDARDS FOR 9 HIGH STACKING

- All dimensions are average. Exact specifications for each model are available.

ENGINE DIESEL CAPACITY

| Voltage | 415/3ph - 220V Option |
| --- | --- |

Isolation/Insulation: mousse /polyurethane foam Isolation/Insulation: mousse de foam

Isolation/Insulation: mousse foam